## ANGLES
PHOTOMETRIC CALCULATIONS |  | Show: "Thespis" 2004 |  | Mike Bromberg | 2004-03-18 | Page 1
DESCRIPTION | SYMBOL | EQUATION | row 1 | row 2 | area 4w | row 3
Situation: Warm front 30° SL |  | Instrument: | s436 | 6x9q | 6x9q | 6x9
Throw, feet | T | From plan | 17 | 12 | 12 | 6
Drop to head height, feet | H | From elevation | 12.5 | 12 | 10 | 11.5
Real distance, feet | D | D=SQRT(T*T + H*H) | 21.1009 | 16.9706 | 15.6205 | 12.9711
Instrument MF | MF | From instrument data | 0.65 | 0.68 | 0.68 | 0.63
Resultant spread, feet | S | S=D*MF | 13.7156 | 11.54 | 10.6219 | 8.1718
Resultant beam spread | B | B=S*0.66 | 9.1437 | 7.6933 | 7.0813 | 5.4479
Vertical angle | VA | VA=arctan H/T | 36.3268 | 45 | 39.8056 | 62.4472
Rated candela | PC | From instrument data | 85000 | 66000 | 66000 | 50600
Lamp code & wattage |  |  | HPL 750 | FLK 575 | FLK 575 | EGG 750
Lamp correction factor | CF | From lamp chart | 1.3 | 1.07 | 1.07 | 1
Actual candela | CP | CP=PC*CF | 110500 | 70620 | 70620 | 50600
Footcandles | FC | FC=CP/(D*D) | 248.1752 | 245.2083 | 289.4262 | 300.7429
Gel number |  |  | r08 | r08 | r08 | r08
Percent transmission | PCT |  | 86% | 86% | 86% | 86%
Actual footcandles | AFC | AFC=FC*PCT | 213.4307 | 210.8792 | 248.9066 | 258.6389
DESCRIPTION | SYMBOL | EQUATION | row 1 | row 2 | area 4c | row 3
Situation: Cool front 30º SR |  | Instrument: | s436 | 6x9q | 6x9q | 6x9q
Throw, feet | T | From plan | 17 | 12 | 11 | 5.5
Drop to head height, feet | H | From elevation | 12.5 | 12 | 10 | 11.5
Real distance, feet | D | D=SQRT(T*T + H*H) | 21.1009 | 16.9706 | 14.8661 | 12.7475
Instrument MF | MF | From instrument data | 0.65 | 0.68 | 0.68 | 0.68
Resultant spread, feet | S | S=D*MF | 13.7156 | 11.54 | 10.1089 | 8.6683
Resultant beam spread | B | B=S*0.66 | 9.1437 | 7.6933 | 6.7393 | 5.7789
Vertical angle | VA | VA=arctan H/T | 36.3268 | 45 | 42.2737 | 64.44
Rated candela | PC | From instrument data | 85000 | 66000 | 66000 | 66000
Lamp code & wattage |  |  | HPL 750 | FLK 575 | FLK 575 | EHD 500
Lamp correction factor | CF | From lamp chart | 1.3 | 1.07 | 1.07 | 0.69
Actual candela | CP | CP=PC*CF | 110500 | 70620 | 70620 | 45540
Footcandles | FC | FC=CP/(D*D) | 248.1752 | 245.2083 | 319.5475 | 280.2462
Gel number |  |  | g106 | g106 | g106 | g106
Percent transmission | PCT |  | 74% | 74% | 74% | 74%
Actual footcandles | AFC | AFC=FC*PCT | 183.6496 | 181.4542 | 236.4652 | 207.3822
DESCRIPTION | SYMBOL | EQUATION | area 8w | area 8c | 13w | 13c
Situation: High platform fronts |  | Instrument: | 4x6q | 4x6q | 6x9q | 6x9q
Throw, feet | T | From plan | 6 | 5.5 | 6 | 5.5
Drop to head height, feet | H | From elevation | 8 | 8 | 10 | 10
Real distance, feet | D | D=SQRT(T*T + H*H) | 10 | 9.7082 | 11.6619 | 11.4127
Instrument MF | MF | From instrument data | 1.03 | 1.03 | 0.68 | 0.68
Resultant spread, feet | S | S=D*MF | 10.3 | 9.9995 | 7.9301 | 7.7606
Resultant beam spread | B | B=S*0.66 | 6.8667 | 6.6663 | 5.2867 | 5.1738
Vertical angle | VA | VA=arctan H/T | 53.1301 | 55.4915 | 59.0362 | 61.1892
Rated candela | PC | From instrument data | 38250 | 38250 | 66000 | 66000
Lamp code & wattage |  |  | EHD 500 | EHD 500 | EHD 500 | EHD 500
Lamp correction factor | CF | From lamp chart | 0.69 | 0.69 | 0.69 | 0.69
Actual candela | CP | CP=PC*CF | 26392.5 | 26392.5 | 45540 | 45540
Footcandles | FC | FC=CP/(D*D) | 263.925 | 280.0265 | 334.8529 | 349.6353
Gel number |  |  | r08 | g106 | r08 | g106
Percent transmission | PCT |  | 86% | 74% | 86% | 74%
Actual footcandles | AFC | AFC=FC*PCT | 226.9755 | 207.2196 | 287.9735 | 258.7301
MITG&SP "Utopia, Limited" 2003 Photometric Calculations | [5 empty] | page 2
DESCRIPTION | SYMBOL | EQUATION | row 1 | row 2 | row 3
Situation: Day backlight 30° SL |  | Instrument: | f6fl | f6fl | f6fl
Throw, feet | T | From plan | 5.5 | 7 | 4.5
Drop to head height, feet | H | From elevation | 12.5 | 12 | 11.5
Real distance, feet | D | D=SQRT(T*T + H*H) | 13.6565 | 13.8924 | 12.3491
Instrument MF | MF | From instrument data | 1.25 | 1.25 | 1.25
Resultant spread, feet | S | S=D*MF | 17.0706 | 17.3656 | 15.4364
Resultant beam spread | B | B=S*0.66 | 11.3804 | 11.577 | 10.2909
Vertical angle | VA | VA=arctan H/T | 66.2505 | 59.7436 | 68.6294
Rated candela | PC | From instrument data | 6825 | 6825 | 6825
Lamp code & wattage |  |  | BTN 750 | BTN 750 | BTN 750
Lamp correction factor | CF | From lamp chart | 1.55 | 1.55 | 1.55
Actual candela | CP | CP=PC*CF | 10578.75 | 10578.75 | 10578.75
Footcandles | FC | FC=CP/(D*D) | 56.7225 | 54.8122 | 69.3689
Gel number |  |  | r65 | r65 | r65
Percent transmission | PCT |  | 35% | 35% | 35%
Actual footcandles | AFC | AFC=FC*PCT | 19.8529 | 19.1843 | 24.2791
DESCRIPTION | SYMBOL | EQUATION | row 1,2 | row 1,2 | row 3 | row 3
Situation: Night backlight 30° SR |  | Instrument: | par64-n | par64-w | par64-n | par64-w
Throw, feet | T | From plan | 6 | 6 | 5 | 5
Drop to head height, feet | H | From elevation | 12.5 | 12.5 | 11.5 | 11.5
Real distance, feet | D | D=SQRT(T*T + H*H) | 13.8654 | 13.8654 | 12.5399 | 12.5399
Instrument MF | MF | From instrument data | 0.83 | 1.43 | 0.83 | 1.43
Resultant spread, feet | S | S=D*MF | 11.5083 | 19.8276 | 10.4081 | 17.9321
Resultant beam spread | B | B=S*0.66 | 7.6722 | 13.2184 | 6.9388 | 11.9547
Vertical angle | VA | VA=arctan H/T | 64.359 |  | 66.5014
Rated candela | PC | From instrument data | 40000 |  | 40000
Lamp code & wattage |  |  | FFS 1000 |  | FFS 1000
Lamp correction factor | CF | From lamp chart | 1 |  | 1
Actual candela | CP | CP=PC*CF | 40000 |  | 40000
Footcandles | FC | FC=CP/(D*D) | 208.0624 |  | 254.372
Gel number |  |  | r80 |  | r80
Percent transmission | PCT |  | 9% |  | 9%
Actual footcandles | AFC | AFC=FC*PCT | 18.7256 |  | 22.8935
DESCRIPTION | SYMBOL | EQUATION | scoop | scroll | please
Situation: Washes |  | Instrument: | scoop14 | s450 | s436
Throw, feet | T | From plan | 0 | 13 | 20.5
Drop to head height, feet | H | From elevation | 12.5 | 12.5 | 0
Real distance, feet | D | D=SQRT(T*T + H*H) | 12.5 | 18.0347 | 20.5
Instrument MF | MF | From instrument data | 2 | 0.93 | 0.65
Resultant spread, feet | S | S=D*MF | 25 | 16.7723 | 13.325
Resultant beam spread | B | B=S*0.66 | 16.6667 | 11.1815 | 8.8833
Vertical angle | VA | VA=arctan H/T | 90 | 43.8767 | 0
Rated candela | PC | From instrument data | 5650 | 35000 | 85000
Lamp code & wattage |  |  | 500 IF | HPL 575 | HPL 575
Lamp correction factor | CF | From lamp chart | 1 | 1 | 1
Actual candela | CP | CP=PC*CF | 5650 | 35000 | 85000
Footcandles | FC | FC=CP/(D*D) | 36.16 | 107.6095 | 202.2606
Gel number |  |  | n/c | r19 | n/c
Percent transmission | PCT |  | 100% | 20% | 100%
Actual footcandles | AFC | AFC=FC*PCT | 36.16 | 21.5219 | 202.2606
MITG&SP "Utopia, Limited" 2003 Photometric Calculations | [5 empty] | page 3
DESCRIPTION | SYMBOL | EQUATION | temple | entrc | entdr
Situation: Entrances |  | Instrument: | 6x12q | 6x12q | 6x12q
Throw, feet | T | From plan | 5.5 | 5.5 | 7.5
Drop to head height, feet | H | From elevation | 11.5 | 10 | 12.5
Real distance, feet | D | D=SQRT(T*T + H*H) | 12.7475 | 11.4127 | 14.5774
Instrument MF | MF | From instrument data | 0.48 | 0.48 | 0.48
Resultant spread, feet | S | S=D*MF | 6.1188 | 5.4781 | 6.9971
Resultant beam spread | B | B=S*0.66 | 4.0792 | 3.6521 | 4.6648
Vertical angle | VA | VA=arctan H/T | 64.44 | 61.1892 | 59.0362
Rated candela | PC | From instrument data | 115500 | 115500 | 115500
Lamp code & wattage |  |  | FLK 575 | FLK 575 | FLK 575
Lamp correction factor | CF | From lamp chart | 1.07 | 1.07 | 1.07
Actual candela | CP | CP=PC*CF | 123585 | 123585 | 123585
Footcandles | FC | FC=CP/(D*D) | 760.5231 | 948.8292 | 581.5765
Gel number |  |  | n/c | n/c | n/c
Percent transmission | PCT |  | 100% | 100% | 100%
Actual footcandles | AFC | AFC=FC*PCT | 760.5231 | 948.8292 | 581.5765
DESCRIPTION | SYMBOL | EQUATION | dsc | wfall | cond | stars
Situation: Specials |  | Instrument: | 6x12q | 4x6q | 3x10q | s426
Throw, feet | T | From plan | 7 | 12 | 7 | 62
Drop to head height, feet | H | From elevation | 12.5 | 12.5 | 12.5 | 0
Real distance, feet | D | D=SQRT(T*T + H*H) | 14.3265 | 17.3277 | 14.3265 | 62
Instrument MF | MF | From instrument data | 0.48 | 1.03 | 0.4 | 0.46
Resultant spread, feet | S | S=D*MF | 6.8767 | 17.8476 | 5.7306 | 28.52
Resultant beam spread | B | B=S*0.66 | 4.5845 | 11.8984 | 3.8204 | 19.0133
Vertical angle | VA | VA=arctan H/T | 60.7512 | 46.1691 | 60.7512 | 0
Rated candela | PC | From instrument data | 115500 | 38250 | 17300 | 138000
Lamp code & wattage |  |  | FLK 575 | FLK 575 | FLK 575 | HPL 575
Lamp correction factor | CF | From lamp chart | 1.07 | 1.07 | 1.56 | 1
Actual candela | CP | CP=PC*CF | 123585 | 40927.5 | 26988 | 138000
Footcandles | FC | FC=CP/(D*D) | 602.1194 | 136.3114 | 131.4884 | 35.9001
Gel number |  |  | n/c | r08 | n/c | n/c
Percent transmission | PCT |  | 100% | 86% | 100% | 100%
Actual footcandles | AFC | AFC=FC*PCT | 602.1194 | 117.2278 | 131.4884 | 35.9001
DESCRIPTION | SYMBOL | EQUATION | apollo | presum | train
Situation: Specials |  | Instrument: | f12sp | 6x12q | s419
Throw, feet | T | From plan | 13 | 2 | 55.5
Drop to head height, feet | H | From elevation | 12.5 | 10 | 12.5
Real distance, feet | D | D=SQRT(T*T + H*H) | 18.0347 | 10.198 | 56.8902
Instrument MF | MF | From instrument data | 0.42 | 0.48 | 0.32
Resultant spread, feet | S | S=D*MF | 7.5746 | 4.8951 | 18.2049
Resultant beam spread | B | B=S*0.66 | 5.0497 | 3.2634 | 12.1366
Vertical angle | VA | VA=arctan H/T | 43.8767 | 78.6901 | 12.6927
Rated candela | PC | From instrument data | 151200 | 115500 | 167000
Lamp code & wattage |  |  | CYX 2000 | FLK 575 | HPL 750
Lamp correction factor | CF | From lamp chart | 1 | 1.07 | 1.3
Actual candela | CP | CP=PC*CF | 151200 | 123585 | 217100
Footcandles | FC | FC=CP/(D*D) | 464.8732 | 1188.3173 | 67.0786
Gel number |  |  | r18 | n/c | n/c
Percent transmission | PCT |  | 56% | 100% | 100%
Actual footcandles | AFC | AFC=FC*PCT | 260.329 | 1188.3173 | 67.0786
MITG&SP "Utopia, Limited" 2003 Photometric Calculations | [5 empty] | page 4
DESCRIPTION | SYMBOL | EQUATION | splat1 | splat2 | splat3
Situation: Splats |  | Instrument: | s419 | s426 | s426
Throw, feet | T | From plan | 30 | 24 | 18
Drop to head height, feet | H | From elevation | 12.5 | 12.5 | 10
Real distance, feet | D | D=SQRT(T*T + H*H) | 32.5 | 27.0601 | 20.5913
Instrument MF | MF | From instrument data | 0.32 | 0.46 | 0.46
Resultant spread, feet | S | S=D*MF | 10.4 | 12.4477 | 9.472
Resultant beam spread | B | B=S*0.66 | 6.9333 | 8.2984 | 6.3147
Vertical angle | VA | VA=arctan H/T | 22.6199 | 27.512 | 29.0546
Rated candela | PC | From instrument data | 167000 | 138000 | 138000
Lamp code & wattage |  |  | HPL 750 | HPL 575 | HPL 575
Lamp correction factor | CF | From lamp chart | 1.3 | 1 | 1
Actual candela | CP | CP=PC*CF | 217100 | 138000 | 138000
Footcandles | FC | FC=CP/(D*D) | 205.5385 | 188.4602 | 325.4717
Gel number |  |  | n/c | n/c | n/c
Percent transmission | PCT |  | 100% | 100% | 100%
Actual footcandles | AFC | AFC=FC*PCT | 205.5385 | 188.4602 | 325.4717